## Slide 1
QMS 1: Management
Responsibility
1.2 Management Tools
Live Session Activity: Complete process Table
BREAKOUT GROUP 2 : Who is Responsible
Notes: Failure can be left for chance, especially since it can happen all on its own. However, quality must be planned for by laboratory management.

## Slide 2: Activity: Process Mapping Part II - Complete the Table
Purpose
To complete the process table by identifying, for each step in the process (4 categories):
What happens
Who’s responsible
What procedures are needed
Pitfalls
What will you need?
One category (see above) of process table cards (ppt) (Homework: Process Mapping Part 2)
What will you do?
  Work Individually to sort and order the process table cards (single category) to correspond to the process steps
  Complete the table, aligning the category cards with the corresponding step (Refer to ppt slides: Process Mapping Homework Part II)
Estimated time for Activity: 40 – 60mins minutes
Notes: 2

## Slide 3
Step
PRE-ANALYTICAL
Place process step cards horizontally to represent the order they occur in the lab and the phase of testing
WHAT HAPPENS
WHO IS RESPONSIBLE
PROCEDURES NEEDED
PITFALLS

## Slide 4
Step
ANALYTICAL
Place process step cards horizontally to represent the order they occur in the lab and the phase of testing
WHAT HAPPENS
WHO IS RESPONSIBLE
PROCEDURES NEEDED
PITFALLS

## Slide 5
Step
POST-ANALYTICAL
Place process step cards horizontally to represent the order they occur in the lab and the phase of testing
WHAT HAPPENS
WHO IS RESPONSIBLE
PROCEDURES NEEDED
PITFALLS

## Slide 6
Clinician determines need
Laboratorian interacts with patient
Requisition reviewed for proper information
Note specific test requested and determine what type of sample is needed
Appropriate information recorded in specimen log
Specimen accepted or rejected based on meeting acceptance criteria
Requests reviewed for
Testing priority – STAT versus routine
If multiple tests to be done, sequential workstations versus aliquoting
Centrifugation required
Send out versus in-house testing
Prior to testing, determine if proper routine QC, reagent validation, equipment maintenance and calibration completed
Blood drawn from patient;
Sputum, urine, stool, or other specimen is collected
Run analysis on specimen
Review test results for accuracy, legibility, & validity;
Cross-checking;
Assure proper quality monitoring
Transfer test results into logbook;
Record results accurately
Notify Clinician of results via written report;
Verbal reporting if necessary;
Critical Values reporting;
Assure that referral specimens are properly tracked
File & store results in a retrievable fashion;
Transfer files to long term storage;
Dispose of files at an appropriate time

## Slide 7
Clinician
Patient / Laboratorian
Clinician, Clerk, or Laboratorian
Laboratorian
Blood: Clinician or Laboratorian
Non-blood specimens: Clinician or Patient
Laboratorian
Laboratorian
Laboratorian
Laboratorian
Laboratorian, Supervisor
Laboratorian, Clerk
Laboratorian
Laboratorian
Laboratorian

## Slide 8
Ordering protocols
Customer Service
Criteria for specimen acceptability
Specimen requirements for (venous) blood collection;
SOP for each analyte
Phlebotomy key competencies;
Phlebotomy training checklist
Specimen management
Specimen management;
Criteria for specimen acceptability
Guidelines for STAT testing;
Guidelines for multiple test from one sample;
Specific SOPs for each analyte;
SOP for send outs (specimens referred to other facilities for testing)
SOP for each analyte;
Guidelines for quality checks of all log/charts for each analyzer or test
Specific SOP for each analyte
SOP for each analyte;
Guidelines for quality checks of all log/charts for each analyzer or test
Specific SOP for each analyte
Specimen management;
Client satisfaction guidelines
SOP for document & record management
(Including Document & Record Retention)

## Slide 9
Unauthorized person ordering
Inappropriate order
Lack of timely service
Interaction not client friendly
Incomplete patient data
Incomplete clinical history
Clerical errors
Not checking or following specimen requirements
Inadequate communication to patients regarding specimen self-collection
Blood - Wrong tube, incorrect amount of blood,
Injury
Non-blood specimens – incorrect specimen or incorrect collection procedure; improper labeling
Clerical errors
Inadequate information
Unsatisfactory specimen
Specimens with hazardous handling conditions
Inadequately labeled specimen
Processing not performed in a timely fashion as ordered
Missing some tests on a requisition with multiple tests requested
Centrifuge not performed in a timely manner
Send out tests not referred in a timely matter or transported inappropriately
QC not done or out of control,
Inadequate troubleshooting or follow up of QC
Improper calibration
Inadequate equipment maintenance
Not following SOP
Taking shortcuts
Not checking or following specimen requirements
Inadequate communication to patients regarding specimen self-collection
Release of test results without validation or interpretation
Inadequate cross-checking
Clerical errors
Analyte printout results listed in different order than logbook reporting columns
Results not communicated in a timely fashion
Results lost
Critical values not reported Confidentiality breached
Failure to track referral specimens or failure to follow-up on overdue specimens
Unable to retrieve information when needed
Lack of adherence to document retention schedule
Water or moisture damage
Release of test results without validation or interpretation
Inadequate cross-checking
Unauthorized person ordering
Inappropriate order