## Slide 1
Job Aid 3: Performing an NCE Investigation 4-12
    The goal of an investigation is to determine:
    What, who, when, how, and why things went wrong in the process that led to a NCE by collecting the facts while making no judgements.
    What caused the NCE by evaluating the interactions between the system and the people involved.
Stepwise Approach
Ensure the following information has been documented on the NCE reporting form you received:
  Date/time NCE occurred
  Date/Time discovered
  Person who discovered NCE
  Description of NCE
  Immediate action (remedial) taken
Document date and time when you received the NCE report to investigate; this way you have documented proof of when your investigative role began.
Begin collecting information on the what, who, when and how things went wrong. Do not ask why at this point since you are primarily gathering relevant facts and not to interpret the facts, yet. Common techniques to use to collect information include:
Observing the problem yourself;
Interviewing;
Analyzing records and documents, especially any previous NCE reports of a similar nature;
Photographing the problem.
Keep drilling to more specific evidence in the following areas since the key facts are made visible by probing these dimensions:
Area to Probe | Questions to Consider
What – gathers objective evidence | What was the behavior that led to the error? Did an individual violate a rule, and if so, did the individual intentionally violate the rule? Types of Behavior Inadvertent - unintended, honest human error which came about inadvertently because of distractions and other system problems It is helpful to understand the types of distractions that can arise, and how employees react to these interruptions; Probably need to console the person who made the mistake. At-risk - deviations where the employee thinks he or she is acting sufficiently, but is not because they are taking short-cuts Look at system to see if there is an incentive structure that supports taking unsafe short-cuts and remove these incentives Correctly matching workflow to staffing can often remove the hurried environment that encourages taking short-cuts Once a work system is judged reasonable, the proper response to at-risk behavior becomes coaching and then monitoring (coaching without monitoring rarely leads to sustained improvement in behavior); If an employee has been repeatedly coached and monitored and still does not comply, the behavior must be reclassified from at-risk to reckless and dealt accordingly Reckless - employee knows the risk associated with his or her behavior, but does it anyway; purposeful rule breaking by choosing to consciously disregard a substantial and unjustifiable risk despite education, counseling, and systems improvements. Should never go to corrective action since it is not a process problem but a behavioral problem that needs to be addressed with disciplinary action

## Slide 2
Area to Probe | Questions to Consider
What (continued) | What was the outcome? (may be used in classification schemes) What happened that day? If the NCE involves a customer complaint, then consider following-up with the customer/supplier to provide input. What usually happens? (norms) Most intentional violations are the result of norms that have developed over time – frequently without the workforce’s knowledge that the norms have been progressively increasing the risk of a significant accident What should have happened? (policies, processes, procedures) Based on the documentation provided by management, was the information available? accurate? complete? unambiguous? Is the step in question covered in a SOP, and if so, was the SOP foloowed?
Who | Who was involved in committing or compounding the event? Involved individuals have the most knowledge of the event and may be in a position to offer (generate) practical solutions. Find out how people’s assessments and actions made sense at the time given the circumstances that surrounded them
When – highlights the gap between when the NCE occurred and when it was detected | When did the NCE occur within the process? When was the NCE detected within the process? This gap between occurrence and detection is important because: The routine laboratory activities that took place between occurrence and detection represent wasted time, effort, and money; If the gap is significant, it may mean the laboratory processes do not have adequate controls to capture NCEs at occurrence or shortly thereafter; During the elapsed time, appropriate action could have been taken minimizing the effect.
How – describes the events that occurred | How the problem was identified? How the event happened? Was preventable or unpreventable? Describe the sequence of activities that led up to the event List the contributing factors

## Slide 3
Deliverable | Common Choices | Explanation
Provide your estimation of the cause(s) | System | Problems with processes and procedures Quality is dependent on processes and management is responsible for the design and implementation of those processes; therefore, problems with quality at the bench level are due to imperfect processes rather than the fault of the staff System failures will persist even if the particular person who made the error is removed or provided with more training. Be careful if the investigation only focuses on the involved persons without considering how a process affected the work of that person. System failures will persist, thereby creating the circumstances for another staff member to make the same error. 85-90%* of problems as system problems Action to be taken – must modify the conditions in the system that contributes or causes the problem
 | Knowledge | Personnel have not been trained to perform the process or the training was ineffective. The competence of the person was not determined prior to independent performance. 10% *of problems are a result of insufficient knowledge
 | Behavior | Staff knows what to do but chose to take no action or take the wrong action (involves at-risk or reckless behavior only). Rules are ignored because the employee believes that they are not at risk for the mistake that the practices are designed to prevent, that they are too busy to bother, or that the practice is ineffective. Least common cause
* Source iqmh.org/Services/Centre-For-Education/Decoding-ISO-I5189-Series
Start addressing the why component, so that by the conclusion of this element, you should have the following deliverables based on the facts you collected:
    Provide your estimation of the cause(s)
    Classify and estimate the level of risk
    Provide next course of action and the solution(s) to be taken
Chart: 
| System | Knowldege | Behavior
% | 88 | 10 | 2

## Slide 4
Deliverable | Common Choices |  | Explanation
Classify and estimate the level of risk | Apply your organization’s defined criteria |  | 
Provide next course of action and the solution(s) to be taken | No action | If a NCE doesn’t have a significant amount of impact and it is not happening very often, the NCE process closes immediately since remedial action was sufficient. The effectiveness of the solution, (shows no change in frequency or severity) is monitored through the Collective NCE Data Analysis Process (i.e. analysis of aggregate NCE data). | 
 | Short-term correction | If an NCE doesn’t have a significant amount of impact or it’s not happening very often, the NCE process allows to just do a correction or an interim-type of action that doesn’t require all of the investigative work that a corrective action (CA) with formal root cause analysis (RCA) would require. The effectiveness of the proposed solution, which is then implemented, is monitored through the Collective NCE Data Analysis Process (i.e. analysis of aggregate NCE data). | 
 | Corrective Action Process With short-term correction (serving as a stop-gap action until the root cause(s) of the underlying problem is identified and more definitive action can be taken) Without short-term correction | The purpose of RCA, the first step in the CA process, is to delve into the often less-than-visible factors that have contributed to the NCE. CA is intended to provide a framework that allows you to go beyond the symptoms to the underlying problem. Frequently with effective RCA, you will discover that the problem was perpetuated or replicated in other parts of the organization, causing other problems that were assumed to be unrelated. Problem-prone processes effectively addressed in the CA process should : System or process redesign Retraining Procedural changes | 
Perform the level of enquiry required using investigative tools such as the 5 Whys Query, Brainstorming, Process Mapping, and the Fishbone Diagram, as necessary. If the event is destined for CA, then your investigative work will be foundational in the CA team’s initial understanding of what happened and when it happened; it will help make clear what the CA team knows and doesn’t know. Effective CA starts with a good NCE report that reveals the problem and the relevant facts. In other words, write-up the problem and not the person.
Ensure documentation of investigation and deliverables are done such that:
  Date/time given to QA manager is noted
  The report is understandable and comprehensive so that if this NCE prompts a CA process as a later time, the CA team has an accurate record to use containing sufficient detail for follow-up and risk assessment.
Provide timely feedback on the results of the investigation to all those who need it and to those who are affected by the error, especially staff reporting the NCE so they are aware action has been taken and are encouraged to continue reporting problems. If the NCE involved a customer complaint, then follow the organization’s communication plan for external notification.