Duties for Workstation XC 14

| Hematology & CD4 |
| --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| Inspect work area Adhere to safety practices; ensure all needed safety equipment is available Organize work area for the day's workload Perform all daily maintenance on analyzer and document in log Perform daily analyzer system checks; verify acceptability and document Perform daily QC; verify acceptability and document Perform assigned testing, validation, and interpretation Aliquot specimens properly as needed Troubleshoot and document corrective action on all invalid or discordant results Notify and document all panic values Record results in the log book Store specimens in proper place and temperature; discard specimens that exceed retention time Document and record QA indicators and occurrences Ensure proper disposal of waste Clean and disinfect work area Perform daily and as-needed microscope maintenance and document Restock work area with all needed supplies for the next day | Perform analyzer weekly, monthly, and as-needed maintenance Perform, verify, and document calibration as needed Analyze and report EQA testing Change stain as needed and verify its performance Perform basic troubleshooting activities and document Contact customer service, document call, and monitor until resolved Issue repair orders and monitor until service is completed Monitor performance of new lots Review supplies and reagents needed at the workstation; update stockroom as needed Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month Ensure analyzer's toolkit is up-to-date Observe other members and provide feedback and cross-train as needed Review and sign-off on all SOPs for the workstation and overall laboratory policies |