Worksheet: Document Control Audit 4-69

| QUESTION | EVIDENCE | FOLLOW-UP |
| --- | --- | --- |
| (Select 10 Master Files comprised of 5 QGen and 5 technical - and verify the following:) …. …. | See Master File Matrix |  |
| Interview the Quality Manager (document control coordinator) regarding the distribution process for new and changed documents (note: SOP states, ensure distribution is complete, but how does the manager do this?) | Quality manager indicates a memo is sent with the new or revised working copy. They (distribution points) just need to read it and follow instructions. | Ask for memo instructing ER distribution points to remove obsolescent versions |
| (Select 30 SOPs -10 QGen and 2 technical from each section – and verify issue and distribution as follows:) Master File contains current version according to Master File Index Each distribution point for working copies has the current version as indicated in the Master File Index Each distribution point, where applicable (version >1), had the obsolescent version removed. | See Issue and Distribution Matrix | Review the documentation regarding major and minor amendments, and the use of post-it notes |

Issue and Distribution Matrix 												 X = Yes  	Page 5 of 5

|  | Master File Index | Master File | Controlled Working Copies Available at Bench | Comments |
| --- | --- | --- | --- | --- |
| Record Review # | Document Number | Document Name | Version | Effective Date | Distribution | Original Aligned with Index | Current Version Aligned with Index | Previous Version Removed |  |
| 23 | Txn-Plt-P002 | Pooling Platelet Procedure | 2 | April 1, 2014 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Blood Bank |  | x | x |  |
| 24 | Txn-DAT-P008 | Direct Antiglobulin Test (DAT) Procedure | 3 | February 9, 2014 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Blood Bank |  |  | Version 2 | Found post-it note changing # of drops added on the obsolete version #2 -major |
| 25 | Cyto-FNA-P012 | Fine Needle Aspiration Biopsy of Solid Lesions Procedure | 3 | March 7, 2015 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Cytology |  | x | x |  |
|  |  |  |  |  | 03 Surgery Suite |  |  | Version 1 |  |
| 26 | Cyto-Non-P016 | Non-GYN Specimen Procedure | 2 | December 15, 2015 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Cytology |  | x | x |  |
| 27 | Micr -CDiff- P030 | Clostridium difficile Toxins A and B Detection by EIA Procedure | 1 | January 3, 2016 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Microbiology |  | x | NA | Found 4 post-it notes fixing minor grammatical errors |
| 28 | Micr-Stain-P011 | Acid Fast Staining Procedure | 2 | May 5, 2014 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Microbiology |  | x | x |  |
| 29 | POCT-P001 | Glucose by Glucometer Procedure | 3 | June 23, 2015 | 01 Master File | X |  |  |  |
|  |  |  |  |  | 02 Biochemistry |  | X | X |  |
|  |  |  |  |  | 03 ER Main |  | X | Ver 1 & 2 | Version #3 missing pages 5-7 |
|  |  |  |  |  | 04 ER Triage |  | X | Ver 1 & 2 |  |
| 30 | POCT-P002 | Glucometer Calibration and Maintenance Procedure | 2 | April 11, 2015 | 01 Master File | X |  |  |  |
|  |  |  |  |  | 02 Biochemistry |  | X | X |  |
|  |  |  |  |  | 03 ER Main |  | X | Version 1 |  |
|  |  |  |  |  | 04 ER Triage |  |  | Version 1 |  |
| Total |  |  |  |  |  | 30/30 | 78/84 | 69/80 | 3 files missing pages; 25 post-it notes found with 6 involving a major change |

| SLIPTA Checklist Item | Compliant | Non compliant | Not Enough Information | Comment |
| --- | --- | --- | --- | --- |
| 1.2 Laboratory Quality Manual - Records of review and approval of the quality manual by authorized personnel? |  |  |  |  |
| 1.3 Document and Information Control System - Does the laboratory have a system in place to control all documents and information from internal and external sources? |  |  |  |  |
| 1.4 Document and Records - Is there a list that details all documents used in the quality management system indicating their editions and distribution? |  |  |  |  |
| 1.5 Laboratory Policies and Standard Operating Procedures - Are policies and/or standard operating procedures (SOPs) for laboratory functions, technical and managerial procedures current, available and approved by authorized personnel? |  |  |  |  |
| Document Control How the laboratory will: 1) control all internal and external documents; 2) create documents; 3) identify documents; 4) review documents; 5) approve documents; 6) capture current versions and their distribution by means of a list; 7) handle amendments; 8) identify changes; 9) handle obsolete documents; 10) retain documents; 11) prevent the unintended use of any obsolete document; 12) ensure safe disposal of documents? |  |  |  | Hint: After evaluating 1.5, your response for 1.5a should support your response regarding the overarching question, 1.5. |
| Documentation of examination procedures How the laboratory will: 1) format general and technical Standard Operating Procedures; 2) define the minimum requirements for a SOP? |  |  |  | Hint: After evaluating 1.5, your response for 1.5b should support your response regarding the overarching question, 1.5. |
| 1.6 Policy and SOPs Accessibility - Are policies and SOPs easily accessible/available to all staff and written in a language commonly understood by respective staff? |  |  |  |  |
| 1.7 Policies and SOPs Communication - Is there documented evidence that all relevant policies and SOPs have been communicated to and are understood and implemented by all staff as related to their responsibilities? |  |  |  |  |
| 1.8 Document Control Log - Are policies and procedures dated to reflect when it was put into effect, its location, when it was reviewed and when it was discontinued? |  |  |  |  |
| 1.9 Discontinued Policies and SOPs - Are invalid or discontinued policies and procedures clearly marked / identified and removed from use and one copy retained for reference purposes? |  |  |  |  |
| 1.10 Data Files - Are test results, technical and quality records, invalid or discontinued policies and procedures archived for a specified time period in accordance with national/international guidelines? |  |  |  |  |
| 1.11 Archived Results Accessibility - Is there an archiving system that allows for easy and timely retrieval of archived records and results? |  |  |  |  |
| 3.4 b) Quality Management System Oversight Does the quality manager ensure that processes needed for the quality management system are established, implemented, and maintained? |  |  |  |  |
| 5.15 Manufacturer’s Operator Manual - Are the manufacturer’s operator manuals readily available to testing staff and, available in the language understood by staff? |  |  |  |  |
| 8.7 Documentation of Examination Procedures - Are examination procedures documented in a language commonly understood by all staff and available in appropriate locations? |  |  |  |  |
| 12.9 Laboratory Safety Manual - Is a laboratory safety manual available, accessible, and up-to-date? |  |  |  |  |