| Hematology & CD4 |
| --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| Inspect work area Adhere to safety practices; ensure all needed safety equipment is available Organize work area for the day's workload Perform all daily maintenance on analyzer and document in log Perform daily analyzer system checks; verify acceptability and document Perform daily QC; verify acceptability and document Perform assigned testing, validation, and interpretation Aliquot specimens properly as needed Troubleshoot and document corrective action on all invalid or discordant results Notify and document all panic values Record results in the log book Store specimens in proper place and temperature; discard specimens that exceed retention time Document and record QA indicators and occurrences Ensure proper disposal of waste Clean and disinfect work area Perform daily and as-needed microscope maintenance and document Restock work area with all needed supplies for the next day | Perform analyzer weekly, monthly, and as-needed maintenance Perform, verify, and document calibration as needed Analyze and report EQA testing Change stain as needed and verify its performance Perform basic troubleshooting activities and document Contact customer service, document call, and monitor until resolved Issue repair orders and monitor until service is completed Monitor performance of new lots Review supplies and reagents needed at the workstation; update stockroom as needed Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month Ensure analyzer's toolkit is up-to-date Observe other members and provide feedback and cross-train as needed Review and sign-off on all SOPs for the workstation and overall laboratory policies |

| Chemistry |
| --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| Inspect work area Adhere to safety practices; ensure all needed safety equipment is available Organize work area for the day's workload Perform all daily maintenance on analyzer and document on log Perform daily analyzer system checks; verify acceptability and document Perform daily QC; verify acceptability and document Perform assigned testing, validation and interpretation Aliquot specimens properly as needed Troubleshoot and document corrective action on all invalid or discordant results Notify and document all panic values Record results in the log book Store specimens in proper place and temperature; discard specimens that exceed retention time Document and record QA indicators and occurrences Ensure proper disposal of waste Clean and disinfect work area Restock work area with all needed supplies for the next day | Perform analyzer weekly, monthly, and as-needed maintenance Perform, verify, and document calibration as needed Analyze and report EQA testing Perform basic troubleshooting activities and document Contact customer service, document call, and monitor until resolved Issue repair orders and monitor until service is completed Monitor performance of new lots Review supplies and reagents needed at the workstation; update stockroom as needed Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month Ensure analyzer's toolkit is up-to-date Observe other members and provide feedback and cross-train as needed Review and sign-off on all SOPs for the workstation and overall laboratory policies |

| Serology & Urinalysis |
| --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| Inspect work area Adhere to safety practices; ensure all needed safety equipment is available Organize work area for the day's workload Verify rotator speed and document Perform internal and external QC; verify acceptability and document Perform assigned testing, validation, and interpretation Aliquot specimens properly as needed Troubleshoot and document corrective action on all invalid or discordant results Notify and document all panic values Record results in the log book Store specimens in proper place and temperature; discard specimens that exceed retention time Document and record QA indicators and occurrences Ensure proper disposal of waste Clean and disinfect work area Perform daily and as-needed microscope maintenance and document Restock work area with all needed supplies for the next day | Track discordant rates Analyze and report EQA testing Issue repair orders and monitor until service is completed Monitor performance of new lots Review supplies and reagents needed at workstation; update stockroom as needed Ensure sufficient workstation logs are available for next month; provide blank logs at end of month Observe other members and provide feedback and cross-train as needed Review and sign-off on all SOPs for the workstation and overall laboratory policies |

| Microbiology |
| --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| Inspect work area Adhere to safety practices; ensure all needed safety equipment is available Organize work area for the day's workload Perform all daily maintenance on BSC and document in log Perform daily QC on stain verify acceptability and document Perform assigned testing, validation, and interpretation Aliquot specimens to be referred to another site Troubleshoot and document corrective action on all invalid or discordant results Notify and document all panic values Record results in the log book Store specimens in proper place and temperature; discard specimens that exceed retention time Document and record QA indicators and occurrences Ensure proper disposal of waste Clean and disinfect work area Perform daily and as-needed microscope maintenance and document Restock work area with all needed supplies for the next day | Perform BSC weekly, monthly, and as-needed maintenance Verify diluting fluids for counts are free of contaminants; ensure hemacytometers are not cracked or chipped Analyze and report EQA testing Issue repair orders and monitor until service is completed Monitor performance of new lots Review supplies and reagents needed at workstation; update stockroom as needed Ensure sufficient workstation logs are available for the next month; provide blank logs at end of month Observe other members and provide feedback and cross-train as needed Review and sign-off on all SOPs for the workstation and overall laboratory policies |

BSC = Biosafety Cabinet

| Blood Bank |
| --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| Inspect work area Adhere to safety practices; ensure all needed safety equipment is available Organize work area for the day's workload Perform temperature for all areas Perform, document all blood monitoring activities Perform daily QC; verify acceptability and document Perform assigned testing, validation, and interpretation Aliquot specimens properly as needed Troubleshoot and document corrective action on all invalid or discordant results Notify and document all panic values Record results in the log book Store specimens in proper place and temperature; discard specimens that exceed retention time Document and record QA indicators and occurrences Ensure proper disposal of waste Clean and disinfect work area Notify and document availability of blood units Restock work area with all needed supplies for the next day | Analyze and report EQA testing Issue repair orders and monitor until service is completed Monitor performance of new lots Review supplies and reagents needed at the workstation; update stockroom as needed Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month Observe other members and provide feedback and cross-train as needed Review and sign-off on all SOPs for the workstation and overall laboratory policies |

EQA = External Quality Assessment

| Specimen Processing for Referral Testing |
| --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| Inspect work area Adhere to safety practices; ensure all needed safety equipment is available Organize work area for the day's workload Ensure DBS are dried properly and prepared for shipment Ensure all specimens meet the referral test requirements Prepare a specimen transfer form for each requested test Aliquot specimens properly as needed Package specimens for shipment to referral site Record specimens on the transfer list Ensure specimen shipment is ready for pick-up at the designated courier times Ensure proper storage and retention conditions are met for those specimens submitted after the last courier pick-up time Ensure all retained specimens from the previous shift/day are packaged for shipment Document and record QA indicators and occurrences Ensure proper disposal of waste Clean and disinfect work area Restock work area with all needed supplies for the next day | Review referral log; follow-up on any outstanding reports Tally workload for all stations Perform weekly and as-needed centrifuge maintenance on all centrifuges Issue repair orders and monitor until service is completed Review supplies and reagents needed at the workstation; update stockroom as needed Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month Observe other members and provide feedback and cross-train as needed Review and sign-off on all SOPs for the workstation and overall laboratory policies |

DBS = Dried Blood Spot

| Phlebotomy |
| --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| Inspect work area Adhere to safety practices; ensure all needed safety equipment is available Organize work area for the day's workload Collect specimens properly Provide instructions for proper specimen collection to patients (AFB, UA) Label and log specimens Perform daily QC on glucometer and lactate POC devices; ensure acceptability and document Record results of glucose and lactate testing Document and record QA indicators and occurrences Ensure proper disposal of waste Clean and disinfect work area Restock work area with all needed supplies for the next day | Analyze and report EQA testing for POC testing Observe other members and provide feedback and cross-train as needed Review and sign-off on all SOPs for the workstation and overall laboratory policies |

EQA = External Quality Assessment

POC = Point of Care

| Store room |
| --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| Inspect storage area Document and record QA indicators and occurrences Ensure proper disposal of waste | Perform stock-count Maintain inventory records Ensure proper storage and rotation of stock Check quality of stored stock periodically Place orders properly Track orders placed Inspect and unpack incoming order Reconcile received stock, reagents, and supplies with order requests and vendor’s invoice Follow-up on order discrepancies Ensure sufficient spare parts for microscope (bulb, fuse, etc) and centrifuge (brushes) for all workstations, batteries for POC testing devices Ensure reagents and chemicals are stored properly Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month Maintain an organized stockroom Remove all clutter, personal items, and old, non-functioning equipment Review and sign-off on all SOPs for the workstation and overall laboratory policies |

POC = Point of Care

| Cross-check |
| --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| Check accuracy of results Ensure all critical results have been called and documented by workstations Confirm all tests are completed Validate & interpret glucose and lactate POC testing Ensure results have been reported properly Ensure confidentiality of results Place results in proper location for distribution outside of the laboratory Perform filing of results for storage and retrieval Document and record QA indicators and occurrences Clean and disinfect work area |  |

POC = Point of Care