Job Aid 1: Risk-based Scoring 4-10

Improvement activities shall be directed at areas of highest priority based on risk assessments.  ISO 15189: 4.12 Continual improvement

Risk-based scoring serves as a filtering system to determine if an individual event requires immediate entry into the corrective action (CA) process or requires continued monitoring and surveillance.  This semi-quantitative scoring system allows a laboratory to measure the magnitude, or impact, of the individual event taking into account the frequency of the event to guide appropriate actions.  Even though there is a level of subjectivity and professional judgment involved, this risk-based scoring provides a way to prioritize actions and direct resources to where they will be most effective.

- Classify the impact, or severity, of the event as Catastrophic, Major, Moderate, Minor. Since the frequency category does not reflect the number of patients affected by the occurrence, capture the number of customers affected when applying the severity category.  Your site may further define the different severity levels based on the extent of injury, cost, or risk.

- Classify the frequency of an occurrence or the probability of a potential occurrence as:

  - Frequent – likely to occur immediately or within a short period of time.  Definition examples that can be used include, but are not limited to, happens once per week, happens several times a year, more than 1 occurrence per 1000 opportunities.

  - Occasional – probably will occur (e.g. happens once per month, may happen several times in 1-2 years, less than 1 occurrence per 1000 opportunities)

  - Uncommon – possibly will occur (e.g. happens once every few years, may happen sometime in 2-5 years, or less than 1 occurrence per 10,000 opportunities)

  - Remote – unlikely to occur (e.g. once in life of the system, may happen sometime in 5-30 years)

- Determine the risk-based score from the table where:

  - Highest risk – 3 – corrective action needed to eliminate the root cause

  - Intermediate risk – 2 - short-term correction to fix or contain the problem, effectiveness measured through monitoring until the occurrence becomes significant

  - Lowest risk -1 - no action necessary except remedial action to fix the consequences of the problem; effectiveness measured through monitoring until the occurrence becomes significant

| Risk-based Metrics: | Impact (Severity) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Frequency (Probability) of Occurrence |  | Catastrophic | Major | Moderate | Minor |
|  | Frequent | 3 | 3 | 2 | 1 |
|  | Occasional | 3 | 2 | 1 | 1 |
|  | Uncommon | 3 | 2 | 1 | 1 |
|  | Remote | 3 | 2 | 1 | 1 |