Worksheet: Document Control Audit 4-69

| QUESTION | EVIDENCE | FOLLOW-UP |
| --- | --- | --- |
| - (Select 10 Master Files comprised of 5 QGen and 5 technical - and verify the following:) - …. - …. | See Master File Matrix |  |
| - Interview the Quality Manager (document control coordinator) regarding the distribution process for new and changed documents (note: SOP states, ensure distribution is complete, but how does the manager do this?) | Quality manager indicates a memo is sent with the new or revised working copy. They (distribution points) just need to read it and follow instructions. | Ask for memo instructing ER distribution points to remove obsolescent versions |
| - (Select 30 SOPs -10 QGen and 2 technical from each section – and verify issue and distribution as follows:) - Master File contains current version according to Master File Index - Each distribution point for working copies has the current version as indicated in the Master File Index - Each distribution point, where applicable (version >1), had the obsolescent version removed. | See Issue and Distribution Matrix | Review the documentation regarding major and minor amendments, and the use of post-it notes |

Issue and Distribution Matrix 												 X = Yes  	Page 5 of 5

|  | Master File Index |  |  |  |  | Master File | Controlled Working Copies Available at Bench |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Record Review # | Document Number | Document Name | Version | Effective Date | Distribution | Original Aligned with Index | Current Version Aligned with Index | Previous Version Removed |  |
| 23 | Txn-Plt-P002 | Pooling Platelet Procedure | 2 | April 1, 2014 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Blood Bank |  | x | x |  |
| 24 | Txn-DAT-P008 | Direct Antiglobulin Test (DAT) Procedure | 3 | February 9, 2014 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Blood Bank |  |  | Version 2 | Found post-it note changing # of drops added on the obsolete version #2 -major |
| 25 | Cyto-FNA-P012 | Fine Needle Aspiration Biopsy of Solid Lesions Procedure | 3 | March 7, 2015 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Cytology |  | x | x |  |
|  |  |  |  |  | 03 Surgery Suite |  |  | Version 1 |  |
| 26 | Cyto-Non-P016 | Non-GYN Specimen Procedure | 2 | December 15, 2015 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Cytology |  | x | x |  |
| 27 | Micr -CDiff- P030 | Clostridium difficile Toxins A and B Detection by EIA Procedure | 1 | January 3, 2016 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Microbiology |  | x | NA | Found 4 post-it notes fixing minor grammatical errors |
| 28 | Micr-Stain-P011 | Acid Fast Staining Procedure | 2 | May 5, 2014 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Microbiology |  | x | x |  |
| 29 | POCT-P001 | Glucose by Glucometer Procedure | 3 | June 23, 2015 | 01 Master File | X |  |  |  |
|  |  |  |  |  | 02 Biochemistry |  | X | X |  |
|  |  |  |  |  | 03 ER Main |  | X | Ver 1 & 2 | Version #3 missing pages 5-7 |
|  |  |  |  |  | 04 ER Triage |  | X | Ver 1 & 2 |  |
| 30 | POCT-P002 | Glucometer Calibration and Maintenance Procedure | 2 | April 11, 2015 | 01 Master File | X |  |  |  |
|  |  |  |  |  | 02 Biochemistry |  | X | X |  |
|  |  |  |  |  | 03 ER Main |  | X | Version 1 |  |
|  |  |  |  |  | 04 ER Triage |  |  | Version 1 |  |
| Total |  |  |  |  |  | 30/30 | 78/84 | 69/80 | 3 files missing pages; 25 post-it notes found with 6 involving a major change |

| SLIPTA Checklist Item | Compliant | Non compliant | Not Enough Information | Comment |
| --- | --- | --- | --- | --- |
| 1.2 Laboratory Quality Manual - Records of review and approval of the quality manual by authorized personnel? |  |  |  |  |
| 1.3 Document and Information Control System - Does the laboratory have a system in place to control all documents and information from internal and external sources? |  |  |  |  |
| 1.4 Document and Records - Is there a list that details all documents used in the quality management system indicating their editions and distribution? |  |  |  |  |
| 1.5 Laboratory Policies and Standard Operating Procedures - Are policies and/or standard operating procedures (SOPs) for laboratory functions, technical and managerial procedures current, available and approved by authorized personnel? |  |  |  |  |
| - Document Control How the laboratory will: 1) control all internal and external documents; 2) create documents; 3) identify documents; 4) review documents; 5) approve documents; 6) capture current versions and their distribution by means of a list; 7) handle amendments; 8) identify changes; 9) handle obsolete documents; 10) retain documents; 11) prevent the unintended use of any obsolete document; 12) ensure safe disposal of documents? |  |  |  | Hint: After evaluating 1.5, your response for 1.5a should support your response regarding the overarching question, 1.5. |
| - Documentation of examination procedures How the laboratory will: 1) format general and technical Standard Operating Procedures; 2) define the minimum requirements for a SOP? |  |  |  | Hint: After evaluating 1.5, your response for 1.5b should support your response regarding the overarching question, 1.5. |
| 1.6 Policy and SOPs Accessibility - Are policies and SOPs easily accessible/available to all staff and written in a language commonly understood by respective staff? |  |  |  |  |
| 1.7 Policies and SOPs Communication - Is there documented evidence that all relevant policies and SOPs have been communicated to and are understood and implemented by all staff as related to their responsibilities? |  |  |  |  |
| 1.8 Document Control Log - Are policies and procedures dated to reflect when it was put into effect, its location, when it was reviewed and when it was discontinued? |  |  |  |  |
| 1.9 Discontinued Policies and SOPs - Are invalid or discontinued policies and procedures clearly marked / identified and removed from use and one copy retained for reference purposes? |  |  |  |  |
| 1.10 Data Files - Are test results, technical and quality records, invalid or discontinued policies and procedures archived for a specified time period in accordance with national/international guidelines? |  |  |  |  |
| 1.11 Archived Results Accessibility - Is there an archiving system that allows for easy and timely retrieval of archived records and results? |  |  |  |  |
| 3.4 b) Quality Management System Oversight Does the quality manager ensure that processes needed for the quality management system are established, implemented, and maintained? |  |  |  |  |
| 5.15 Manufacturer’s Operator Manual - Are the manufacturer’s operator manuals readily available to testing staff and, available in the language understood by staff? |  |  |  |  |
| 8.7 Documentation of Examination Procedures - Are examination procedures documented in a language commonly understood by all staff and available in appropriate locations? |  |  |  |  |
| 12.9 Laboratory Safety Manual - Is a laboratory safety manual available, accessible, and up-to-date? |  |  |  |  |