Job Aid 5: IA Procedure 4-78

Developing an Internal Audit Procedure

ISO 15189:2012 4.14.5

The laboratory shall have a documented procedure to define the responsibilities and requirements for planning and conducting audits, and for reporting results and maintaining records (see 4.13).

Commentary

When preparing an internal auditing procedure, does the procedure address:

- The objectives of the overall internal audit program (conformance and performance)

- Identification of the internal audit program coordinator (process owner)

- Scheduling of individual audits to be performed

- Selection of the processes, areas, and functions to be audited

- Dissemination of an annual plan of what to audit

- Auditor selection and a process for determining who can audit what

- Responsibilities for planning and conducting audits

- Reporting of audit results

- Relationship of audit process to the corrective action process and to follow-up

- Audit Closure, including notification

Is there a related procedure addressing Internal Auditor Competence and Training?

When retaining records, consider the following :

For the Audit Program

- Audit schedules

- Auditor competence and performance evaluation to demonstrate competency

- Feedback from auditors and auditees about the process

  - Overall satisfaction with the audit program

  - Competence of lead auditor and auditors

  - Areas for audit program improvement

For Each Internal Audit

- Audit schedules

- Opening and closing meetings

- Audit plans

- Audit checklists and matrices

- NCE requests or corrective action/preventive action requests, depending on the system employed

- Reports or records of feedback from auditees on actions taken

- Audit follow-up report (evidence of review by management regarding the verification of effectiveness)

- Memo notifying audit closure to top management and the process owner

A complete record of the audit should be maintained even if a nonconformity has not been reported.