Job Aid: Cross-Checking Guidelines804

Items to be verified prior to release of test results

| Completeness |  | Result Information |
| --- | --- | --- |
| Each test has a corresponding result Patient information Clinical information Provider information Specimen information Collection information Initials of staff member who performed each test indicated Date and time of report Result information identical with log book |  | Legible Proper placement of decimals Uniform result alignment with regards to decimal placement Format of results corresponds with SOP Proper units and significant places Abbreviations used from approved list Within instrument linearity No associated instrument codes with regard to accuracy Result corresponds with correct test Diluted results multiplied with correct dilution factor No consistent pattern or trend exhibited between patients for a specific analyte during cross-checking unless patient grouping under review is from the same diagnosis/population pool (i.e. Newborn H & H’s) |
| Critical (Panic Values) |  |  |
| Result verified and verification documented Documentation of result notification On result report In log book |  |  |
| Testing Priority |  | Appropriateness |
| STAT requests communicated and documented Delays communicated and documented |  | Test relevant to patient’s age and gender Result information makes clinical sense Electrolytes BUN/Creatinine Macroscopic with microscopic Instrument with smear RBC Indices, RBC count, Hemoglobin and Hematocrit all show agreement |
| Specimen Rejection |  |  |
| Reason for specimen rejection documented Clinician and / or patient notified, and this notification is documented |  |  |