| Hematology & CD4 |  |
| --- | --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| - Inspect work area - Adhere to safety practices; ensure all needed safety equipment is available - Organize work area for the day's workload - Perform all daily maintenance on analyzer and document in log - Perform daily analyzer system checks; verify acceptability and document - Perform daily QC; verify acceptability and document - Perform assigned testing, validation, and interpretation - Aliquot specimens properly as needed - Troubleshoot and document corrective action on all invalid or discordant results - Notify and document all panic values - Record results in the log book - Store specimens in proper place and temperature; discard specimens that exceed retention time - Document and record QA indicators and occurrences - Ensure proper disposal of waste - Clean and disinfect work area - Perform daily and as-needed microscope maintenance and document - Restock work area with all needed supplies for the next day | - Perform analyzer weekly, monthly, and as-needed maintenance - Perform, verify, and document calibration as needed - Analyze and report EQA testing - Change stain as needed and verify its performance - Perform basic troubleshooting activities and document - Contact customer service, document call, and monitor until resolved - Issue repair orders and monitor until service is completed - Monitor performance of new lots - Review supplies and reagents needed at the workstation; update stockroom as needed - Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month - Ensure analyzer's toolkit is up-to-date - Observe other members and provide feedback and cross-train as needed - Review and sign-off on all SOPs for the workstation and overall laboratory policies |

| Chemistry |  |
| --- | --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| - Inspect work area - Adhere to safety practices; ensure all needed safety equipment is available - Organize work area for the day's workload - Perform all daily maintenance on analyzer and document on log - Perform daily analyzer system checks; verify acceptability and document - Perform daily QC; verify acceptability and document - Perform assigned testing, validation and interpretation - Aliquot specimens properly as needed - Troubleshoot and document corrective action on all invalid or discordant results - Notify and document all panic values - Record results in the log book - Store specimens in proper place and temperature; discard specimens that exceed retention time - Document and record QA indicators and occurrences - Ensure proper disposal of waste - Clean and disinfect work area - Restock work area with all needed supplies for the next day | - Perform analyzer weekly, monthly, and as-needed maintenance - Perform, verify, and document calibration as needed - Analyze and report EQA testing - Perform basic troubleshooting activities and document - Contact customer service, document call, and monitor until resolved - Issue repair orders and monitor until service is completed - Monitor performance of new lots - Review supplies and reagents needed at the workstation; update stockroom as needed - Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month - Ensure analyzer's toolkit is up-to-date - Observe other members and provide feedback and cross-train as needed - Review and sign-off on all SOPs for the workstation and overall laboratory policies |

| Serology & Urinalysis |  |
| --- | --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| - Inspect work area - Adhere to safety practices; ensure all needed safety equipment is available - Organize work area for the day's workload - Verify rotator speed and document - Perform internal and external QC; verify acceptability and document - Perform assigned testing, validation, and interpretation - Aliquot specimens properly as needed - Troubleshoot and document corrective action on all invalid or discordant results - Notify and document all panic values - Record results in the log book - Store specimens in proper place and temperature; discard specimens that exceed retention time - Document and record QA indicators and occurrences - Ensure proper disposal of waste - Clean and disinfect work area - Perform daily and as-needed microscope maintenance and document - Restock work area with all needed supplies for the next day | - Track discordant rates - Analyze and report EQA testing - Issue repair orders and monitor until service is completed - Monitor performance of new lots - Review supplies and reagents needed at workstation; update stockroom as needed - Ensure sufficient workstation logs are available for next month; provide blank logs at end of month - Observe other members and provide feedback and cross-train as needed - Review and sign-off on all SOPs for the workstation and overall laboratory policies |

| Microbiology |  |
| --- | --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| - Inspect work area - Adhere to safety practices; ensure all needed safety equipment is available - Organize work area for the day's workload - Perform all daily maintenance on BSC and document in log - Perform daily QC on stain verify acceptability and document - Perform assigned testing, validation, and interpretation - Aliquot specimens to be referred to another site - Troubleshoot and document corrective action on all invalid or discordant results - Notify and document all panic values - Record results in the log book - Store specimens in proper place and temperature; discard specimens that exceed retention time - Document and record QA indicators and occurrences - Ensure proper disposal of waste - Clean and disinfect work area - Perform daily and as-needed microscope maintenance and document - Restock work area with all needed supplies for the next day | - Perform BSC weekly, monthly, and as-needed maintenance - Verify diluting fluids for counts are free of contaminants; ensure hemacytometers are not cracked or chipped - Analyze and report EQA testing - Issue repair orders and monitor until service is completed - Monitor performance of new lots - Review supplies and reagents needed at workstation; update stockroom as needed - Ensure sufficient workstation logs are available for the next month; provide blank logs at end of month - Observe other members and provide feedback and cross-train as needed - Review and sign-off on all SOPs for the workstation and overall laboratory policies |

BSC = Biosafety Cabinet

| Blood Bank |  |
| --- | --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| - Inspect work area - Adhere to safety practices; ensure all needed safety equipment is available - Organize work area for the day's workload - Perform temperature for all areas - Perform, document all blood monitoring activities - Perform daily QC; verify acceptability and document - Perform assigned testing, validation, and interpretation - Aliquot specimens properly as needed - Troubleshoot and document corrective action on all invalid or discordant results - Notify and document all panic values - Record results in the log book - Store specimens in proper place and temperature; discard specimens that exceed retention time - Document and record QA indicators and occurrences - Ensure proper disposal of waste - Clean and disinfect work area - Notify and document availability of blood units - Restock work area with all needed supplies for the next day | - Analyze and report EQA testing - Issue repair orders and monitor until service is completed - Monitor performance of new lots - Review supplies and reagents needed at the workstation; update stockroom as needed - Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month - Observe other members and provide feedback and cross-train as needed - Review and sign-off on all SOPs for the workstation and overall laboratory policies |

EQA = External Quality Assessment

| Specimen Processing for Referral Testing |  |
| --- | --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| - Inspect work area - Adhere to safety practices; ensure all needed safety equipment is available - Organize work area for the day's workload - Ensure DBS are dried properly and prepared for shipment - Ensure all specimens meet the referral test requirements - Prepare a specimen transfer form for each requested test - Aliquot specimens properly as needed - Package specimens for shipment to referral site - Record specimens on the transfer list - Ensure specimen shipment is ready for pick-up at the designated courier times - Ensure proper storage and retention conditions are met for those specimens submitted after the last courier pick-up time - Ensure all retained specimens from the previous shift/day are packaged for shipment - Document and record QA indicators and occurrences - Ensure proper disposal of waste - Clean and disinfect work area - Restock work area with all needed supplies for the next day | - Review referral log; follow-up on any outstanding reports - Tally workload for all stations - Perform weekly and as-needed centrifuge maintenance on all centrifuges - Issue repair orders and monitor until service is completed - Review supplies and reagents needed at the workstation; update stockroom as needed - Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month - Observe other members and provide feedback and cross-train as needed - Review and sign-off on all SOPs for the workstation and overall laboratory policies |

DBS = Dried Blood Spot

| Phlebotomy |  |
| --- | --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| - Inspect work area - Adhere to safety practices; ensure all needed safety equipment is available - Organize work area for the day's workload - Collect specimens properly - Provide instructions for proper specimen collection to patients (AFB, UA) - Label and log specimens - Perform daily QC on glucometer and lactate POC devices; ensure acceptability and document - Record results of glucose and lactate testing - Document and record QA indicators and occurrences - Ensure proper disposal of waste - Clean and disinfect work area - Restock work area with all needed supplies for the next day | - Analyze and report EQA testing for POC testing - Observe other members and provide feedback and cross-train as needed - Review and sign-off on all SOPs for the workstation and overall laboratory policies |

EQA = External Quality Assessment

POC = Point of Care

| Store room |  |
| --- | --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| - Inspect storage area - Document and record QA indicators and occurrences - Ensure proper disposal of waste | - Perform stock-count - Maintain inventory records - Ensure proper storage and rotation of stock - Check quality of stored stock periodically - Place orders properly - Track orders placed - Inspect and unpack incoming order - Reconcile received stock, reagents, and supplies with order requests and vendor’s invoice - Follow-up on order discrepancies - Ensure sufficient spare parts for microscope (bulb, fuse, etc) and centrifuge (brushes) for all workstations, batteries for POC testing devices - Ensure reagents and chemicals are stored properly - Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month - Maintain an organized stockroom - Remove all clutter, personal items, and old, non-functioning equipment - Review and sign-off on all SOPs for the workstation and overall laboratory policies |

POC = Point of Care

| Cross-check |  |
| --- | --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| - Check accuracy of results - Ensure all critical results have been called and documented by workstations - Confirm all tests are completed - Validate & interpret glucose and lactate POC testing - Ensure results have been reported properly - Ensure confidentiality of results - Place results in proper location for distribution outside of the laboratory - Perform filing of results for storage and retrieval - Document and record QA indicators and occurrences - Clean and disinfect work area |  |

POC = Point of Care