Job Aid 2: Receiving Inspection Checklist305

Receipt Inspection Performed By:  _______________________________

Receipt Inspection Date:  ______________     Invoice Number  ________

Shipment Arrival Date:  ________________

- The order is complete and acceptable

- All discrepancies are documented

| Discrepancy | Item’s Name |
| --- | --- |
| Wrong Item |  |
| Wrong Quantity |  |
| Damaged Item |  |
| Defective Item |  |
| Back-ordered Item |  |
| Missing Item |  |
| Item Not Requested by Laboratory |  |

Attach a copy of the invoice and order request with checklist.

- The correct items were shipped

- No items are missing

- Quantity of items received matches quantity indicated on invoice

- Quantity of items received matches quantity requested by laboratory

- Manufacturer’s expiry date is acceptable

- Items transported at the correct shipping temperature

- Cold packs are cold (refrigerated items) or frozen or partially thawed (frozen items).

- Items are not crushed, broken or leaking.

- Any broken or leaking item has been handled safely and disposed of properly

- Any manufacturer’s alerts or changes to the package insert are noted

- Inventory records are updated

- A copy of the invoice and order request is retained in the laboratory.

- Shipment is unpacked and properly integrated with existing inventory

- Each item is labeled with the receipt date and the receiving person’s initials before placed into storage or use.

- Each item is stored behind existing items in the correct bin or area. (FIFO)

- Items are rotated following FEFO

- Items to be evaluated or returned to vendor are clearly marked and segregated from items ready for use.