Worksheet: Document Control Audit 4-69

| QUESTION | EVIDENCE | FOLLOW-UP |
| --- | --- | --- |
| - (Select 10 Master Files comprised of 5 QGen and 5 technical - and verify the following:) - …. - …. | See Master File Matrix |  |
| - Interview the Quality Manager (document control coordinator) regarding the distribution process for new and changed documents (note: SOP states, ensure distribution is complete, but how does the manager do this?) | Quality manager indicates a memo is sent with the new or revised working copy. They (distribution points) just need to read it and follow instructions. | Ask for memo instructing ER distribution points to remove obsolescent versions |
| - (Select 30 SOPs -10 QGen and 2 technical from each section – and verify issue and distribution as follows:) - Master File contains current version according to Master File Index - Each distribution point for working copies has the current version as indicated in the Master File Index - Each distribution point, where applicable (version >1), had the obsolescent version removed. | See Issue and Distribution Matrix | Review the documentation regarding major and minor amendments, and the use of post-it notes |

Issue and Distribution Matrix 												 X = Yes  	Page 5 of 5

|  | Master File Index |  |  |  |  | Master File | Controlled Working Copies Available at Bench |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Record Review # | Document Number | Document Name | Version | Effective Date | Distribution | Original Aligned with Index | Current Version Aligned with Index | Previous Version Removed |  |
| 23 | Txn-Plt-P002 | Pooling Platelet Procedure | 2 | April 1, 2014 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Blood Bank |  | x | x |  |
| 24 | Txn-DAT-P008 | Direct Antiglobulin Test (DAT) Procedure | 3 | February 9, 2014 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Blood Bank |  |  | Version 2 | Found post-it note changing # of drops added on the obsolete version #2 -major |
| 25 | Cyto-FNA-P012 | Fine Needle Aspiration Biopsy of Solid Lesions Procedure | 3 | March 7, 2015 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Cytology |  | x | x |  |
|  |  |  |  |  | 03 Surgery Suite |  |  | Version 1 |  |
| 26 | Cyto-Non-P016 | Non-GYN Specimen Procedure | 2 | December 15, 2015 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Cytology |  | x | x |  |
| 27 | Micr -CDiff- P030 | Clostridium difficile Toxins A and B Detection by EIA Procedure | 1 | January 3, 2016 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Microbiology |  | x | NA | Found 4 post-it notes fixing minor grammatical errors |
| 28 | Micr-Stain-P011 | Acid Fast Staining Procedure | 2 | May 5, 2014 | 01 Master File | x |  |  |  |
|  |  |  |  |  | 02 Microbiology |  | x | x |  |
| 29 | POCT-P001 | Glucose by Glucometer Procedure | 3 | June 23, 2015 | 01 Master File | X |  |  |  |
|  |  |  |  |  | 02 Biochemistry |  | X | X |  |
|  |  |  |  |  | 03 ER Main |  | X | Ver 1 & 2 | Version #3 missing pages 5-7 |
|  |  |  |  |  | 04 ER Triage |  | X | Ver 1 & 2 |  |
| 30 | POCT-P002 | Glucometer Calibration and Maintenance Procedure | 2 | April 11, 2015 | 01 Master File | X |  |  |  |
|  |  |  |  |  | 02 Biochemistry |  | X | X |  |
|  |  |  |  |  | 03 ER Main |  | X | Version 1 |  |
|  |  |  |  |  | 04 ER Triage |  |  | Version 1 |  |
| Total |  |  |  |  |  | 30/30 | 78/84 | 69/80 | 3 files missing pages; 25 post-it notes found with 6 involving a major change |

| SLIPTA V3 Checklist Item | Compliant | Non compliant | Not Enough Information | Comment |
| --- | --- | --- | --- | --- |
| 1.2 Laboratory Management system Policies and Objectives – f) Records of review and approval of the quality manual by authorized personnel? |  |  |  |  |
| 1.3 Document and Information Control System - Has the laboratory management established and implemented document control system to control all documents and information from internal and external sources? |  |  |  |  |
| 1.4 Document and Records – Are there records detailing all documents of the laboratory management system indicating their editions and distribution? |  |  |  |  |
| 1.5 Laboratory management system Documentation a) Has the laboratory management established, documented and maintained objectives and policies to fulfil the requirements of ISO 15189:2022 standard? |  |  |  |  |
| - Are these objectives and policies acknowledged and implemented at all levels of the laboratory? |  |  |  |  |
| STD requirement 8.3.2 Control of documents a) documents are uniquely identified b) documents are approved for adequacy before issue by authorized personnel who have the expertise and competence to determine adequacy c) documents are periodically reviewed and updated as necessary d) relevant versions of applicable documents are available at points of use and, where necessary, their distribution is controlled e) changes and the current revision status of documents are identified f) documents are protected from unauthorized changes and any deletion or removal g) documents are protected for unauthorized access h) the unintended use of obsolete documents is prevented, and suitable identification is applied to them if they are retained for any purpose i) at least one paper of electronic copy of each obsolete controlled document is retained for a specified time period or in accordance with applicable specified requirements. |  |  |  |  |
| 1.6 Quality Document Accessibility - Are documents easily accessible, available and written in a language commonly understood and communicated to all relevant personnel? |  |  |  |  |
| 1.7 Document Control Record Do all quality documents a have a record to reflect when it was approved for use, its review and revision history, its version, its location and when it was discontinued. |  |  |  | Doc control log |
| 1.8 Discontinued Quality documents - Are invalid or discontinued quality documents, identified, clearly marked, removed from use and one copy retained for reference purposes? |  |  |  |  |
| 1.9 Data Files - Are test results, technical and quality records, archived for a specified time period in accordance with Section 9 of this checklist? |  |  |  |  |
| 1.10 Archived Results Accessibility - Is there an archiving system that allows for easy and timely retrieval of patient results as per the requirements of Section 9 of this checklist? |  |  |  |  |
| 3.5 a) Compliance with Laboratory Management System Is there a person or persons who, irrespective of other responsibilities, have the authority and resources needed to carry out their duties, including implementation, maintenance, and improvement of the management system. |  |  |  |  |
| 5.15 Manufacturer’s Operator Manual - Are the manufacturer’s operator manuals readily available to testing staff and, available in the language understood by staff? |  |  |  |  |
| 8.12 Location of Examination Procedures - Are examination information and instructions available in appropriate locations? |  |  |  |  |
| 12.1 Procedure and/or Process for Laboratory Safety – Has the laboratory defined a procedure and/or process that addresses, but is not limited to ensure all safety measures are implemented at the laboratory as applicable to national and/or international guidelines and regulations. |  |  |  |  |