Job Aid 1: SOP Template602

Procedures will contain the following, where applicable:

I. Title of Procedure

Write a title that clearly defines the content of the SOP.

II. Test Summary

State the physiologic and diagnostic reasons for performing the test.

III. Principle

Outline the scientific principle involved in the process.

IV. Specimen Handling and Preparation

V. Quality Control

VI. Calibration

VII. Reagents, Materials, & Equipment –

List by category any equipment, reagents, or materials required for following the SOP.

VIII. Procedure

Give the steps, in order, required to complete the procedure.

IX. Result Reporting

X Expected Values

XI. Limitations

XII. Notes

Document any additional useful information such as possible sources of error, pitfalls, or special precautions.

XIII. References

Include a complete list of source material used in the preparation of the document.