| Quality Indicator Monthly Summary – A Case Study XC 18 Tick if condition present or supply data for each day indicator is monitored. Month October Year 20XX |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Day | Equipment Down Indicate Analyzer affected | Stock out Indicate Item affected | Test Statistics See monthly Lab report | TAT Specify test monitored | EQA Pass or Fail | Specimens Rejected | Customer Satisfaction Note complaint | Service Interruption Note type | Tech Productivity Note test monitored |
| 1 |  Heme Analyzer |  |  |  |  | 4 |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |
| 4 |  Heme Analyzer |  |  | CD4 – 28.9 hrs |  | 0 |  |  |  |
| 5 |  Heme Analyzer |  |  |  |  | 0 | Lab tech rude |  |  |
| 6 |  |  |  |  |  | 10 |  |  | TB Smears 8 / 8 day |
| 7 |  |  |  |  |  | 3 |  |  |  |
| 8 |  |  |  |  |  | 5 |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |
| 11 |  |  Chem Reagents |  | CD4 – 34.7 hrs |  | 2 | Specimen lost | Lab Tech #3 at training |  |
| 12 |  |  |  |  |  | 3 | No attention |  |  |
| 13 |  |  |  |  |  | 13 | Unable to do test |  | 5 / 7 day |
| 14 |  |  |  |  |  | 0 |  |  |  |
| 15 |  |  |  |  |  | 1 | Long wait |  |  |
| 16 |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |
| 18 |  |  Chem Reagents |  | CD4 – 30.1 hrs | F - Heme | 3 |  |  |  |
| 19 |  |  |  |  |  | 0 |  |  |  |
| 20 |  |  |  |  |  | 14 |  |  | 9 / 9 day |
| 21 |  |  |  |  |  | 0 |  |  |  |
| 22 |  |  |  |  |  | 2 |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  | CD4 – 29.3 hrs |  | 0 |  |  |  |
| 26 |  |  |  |  |  | 2 |  |  |  |
| 27 |  |  |  |  |  | 17 |  |  | 8 / 8 day |
| 28 |  |  |  |  |  | 0 | Poor service |  |  |
| 29 |  |  |  |  |  | 1 |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |