## Jan
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Total Specimens received | 426
Rejected specimens | 15 | 3.521% |  | 10 Mislabeled, 5 clotted samples
Specimens by testing areas
Biochemistry | 288 | 67.61%
Hematology | 333 | 78.17%
CD4 | 212 | 49.77%
HIV Diagnosis | 10 | 2.347%
Microbiology | 60 | 14.08%
TB | 120 | 28.17%
Malaria | 180 | 42.25%
Syphilis | 250 | 58.69%
Others | 60 | 14.08%
Specimens referred to central laboratory | 105 | 24.65%
Analytical
Quality control
Number of time QC has failed | 8 |  |  | 6 time Hematolgy Low failed, Creat Low out, 1 Detemine failed
Corrective action taken | 16
Proficiency testing (PT)
PT panel received | 3 |  |  | CD4, HIV RT, Chem
PT panel tested | 2 |  |  | CD4, HIV RT
Satisfactory performance | 1 |  |  | TB Smear
Instrument/Equipment
No. of equipment failure | 4
Non-schedule maintenance (in-house) | 4
Service Calls | 0
No. Preventive maintenance | 1 |  |  | CD4
Days of Service interruption
(Stock-out, Equip Failure or Staff)
Biochemistry | 3 |  |  | Creat and AST stock out
Hematology | 2
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Tests completed within timeframe
Biochemistry | 260 | 90.28%
Hematology | 333 | 100%
CD4 | 212 | 100%
HIV | 10 | 100%
Microbiology | 45 | 75%
TB | 108 | 90%
Malaria | 160 | 88.89%
Syphilis | 125 | 50%
Others | 60 | 100%
Post analytical
Turn around time
Reports issued | 405
Report completed within timeframe | 405
Reports returned | 0
Request for duplicate | 10
Customer satisfaction
Complaints | 1 |  |  | CD4 Result Questioned
Employee competency**
Orientation for new employee | 0
Training | 0
Competency Check | 4 |  |  | HIV RT, Chem x2
Other
Inventory Checked | yes
Stock outs | 2 |  |  | Creat, AST
** annually / semi annually

## Feb
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## Mar
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## April
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## May
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## June
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## July
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## Aug
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## Sept
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## Oct
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## Nov
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## Dec
MONTHLY LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | MONTH/YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually

## Annual
ANNUAL LABORATORY REPORT (XC 21)
LABORATORY: |  | LOCATION: |  | YEAR:
Pre-analytical | Results |  | Acceptable | Comments
| Number | Percentage
Specimens received for Testing
Rejected specimens
Specimens by testing areas
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Specimens referred to central labortory
Referral specimens
Analytical
Quality control
Results reported within QC range
Corrective action taken
QC within limits for total test
Proficiency testing (PT)
Testing areas covered
PT panel received
Satisfactory performance
Instrument/Equipment
Preventive maintenance
Calibration
# equipment failure
Testing metholodies validated
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Laboratory accidents/Incidents
Testing completed within timeframe
Biochemistry
Hematology
CD4
HIV
Microbiology
TB
Malaria
Syphilis
Others
Service interruption
Post analytical
Turn around time
Reports issued
Report completed within timeframe
Reports returned
Customer satisfaction
Complaints
Request for duplicate
Employee competency**
Orientation for new employee
Training completed
Satisfactory performance
Problem solving skills
Other
Stock out
Expired tests and reagents
** annually / semi annually