Duties for Workstation XC 14

| Hematology & CD4 |  |
| --- | --- |
| Daily Tasks | Weekly, Monthly, or As-Needed Tasks |
| - Inspect work area - Adhere to safety practices; ensure all needed safety equipment is available - Organize work area for the day's workload - Perform all daily maintenance on analyzer and document in log - Perform daily analyzer system checks; verify acceptability and document - Perform daily QC; verify acceptability and document - Perform assigned testing, validation, and interpretation - Aliquot specimens properly as needed - Troubleshoot and document corrective action on all invalid or discordant results - Notify and document all panic values - Record results in the log book - Store specimens in proper place and temperature; discard specimens that exceed retention time - Document and record QA indicators and occurrences - Ensure proper disposal of waste - Clean and disinfect work area - Perform daily and as-needed microscope maintenance and document - Restock work area with all needed supplies for the next day | - Perform analyzer weekly, monthly, and as-needed maintenance - Perform, verify, and document calibration as needed - Analyze and report EQA testing - Change stain as needed and verify its performance - Perform basic troubleshooting activities and document - Contact customer service, document call, and monitor until resolved - Issue repair orders and monitor until service is completed - Monitor performance of new lots - Review supplies and reagents needed at the workstation; update stockroom as needed - Ensure sufficient workstation logs are available for the next month; provide blank logs at the end of month - Ensure analyzer's toolkit is up-to-date - Observe other members and provide feedback and cross-train as needed - Review and sign-off on all SOPs for the workstation and overall laboratory policies |