Worksheet 1: Definition of Terms Quiz203v2

Time: 10 minutes

Instructions: Match each term (in the left column) with the appropriate definition item (in the right column). Write the letter of the appropriate definition in the space next to the term.

|  |  | Term |  | Definition |
| --- | --- | --- | --- | --- |
| __ _ | 1. | Accuracy | A. | Amount of scatter or variability around the mean, measured in units and percent |
| __ _ | 2. | Precision | B. | The average of our data or the best estimate of the true value produced by our laboratory |
| __ _ | 3. | Imprecision | C. | The specific substance you are interested in measuring |
| __ _ | 4. | Inherent Imprecision | D. | Difference between the average measured value (the mean) and the true value |
| __ _ | 5. | Single Population of Data | E. | The closeness of agreement between results in a set of replicate measurements; typically expressed in terms of imprecision |
| __ _ | 6. | Mean | F. | Normal distribution of data that is symmetrical and clusters around the mean |
| __ _ | 7. | Bias | G. | Quantifies the variation or distribution of values measured in units |
| __ _ | 8. | Analyte (measurand) | H. | Closeness between the measured value for an analyte and the true value for that analyte |
| __ _ | 9. | Standard Deviation (SD) | I. | Amount of imprecision encountered when the analytical system is stable due to slight changes in temperature, voltage, reagent or sample pipetting |
| __ _ | 10. | Gaussian Distribution | J. | Random points exhibiting a normal distribution with a specific mean and SD |