## Slide 1: For Each QC Data Point We Need to Decide…
SYSTEM IS STABLE
SYSTEM IS UNSTABLE – SIGNIFICANT CHANGE
NO RULE VIOLATION
RULE VIOLATION
OCCURRED ON L-J CHART
True Accept – system is stable and no QC rule violations occurred – report patients
False Accept – system is unstable and no QC rule violations occurred –wrong results may be reported
False Reject– system is stable and a QC rule violation occurred due to inherent randomness- waste of time, effort, and $$
True Reject – system is unstable and a QC rule violation occurred – begin investigation and troubleshooting
Job Aid 1: Possible Outcomes 510