## Slide 1: Assigned vs. Observed – What is the difference?
Mean assign SD assign
Mean observed SD observed
May or may not be based on fact
Values applied to the L-J Chart
Sources often chosen other than currently observed performance include:
  Past data points before a change
  Cumulative values
  Package insert values
Mathematically calculated using data points (facts)
Answers WHERE WE ARE in terms of accuracy and precision of the method
Specific to your method’s performance
Job Aid 3: Assigned vs Observed 512