|  |  |  |  |
| --- | --- | --- | --- |
| **Category** | **API Report** | **CAP Report** | **ZINQAP Report** |
| Analyte Tested | FBC Analytes  | Coagulation Analytes | FBC analytes |
| Units of Measure | Various (%, g/dl) | seconds | Various (%, g/dl) |
| Survey Samples | Sample: XE-06 through XE-10 | Specimen: CGL-11 through CGL-15 | Sample Label: FBC 1 and FBC 2 |
| Reported Result | Reported Result | Your Result | Your Response |
| N | not provided with this page of the PT report | No. of Labs | Sample Size (n) |
| Mean | Mean | Mean | Consensus Value |
| Expected Range | Expected Range | Limits of Acceptability (Lower and Upper) | not provided with this PT report |
| SD | SD | S.D. | Std. Dev. |
| SDI | SDI | S.D.I. | Z-Score |
| Grade | Grade | Your Grade | not provided with this PT report |
| Peer Group | Sysmex XE-2100 | Siemens BCS, BCS XP | not provided with this PT report |

API – American Proficiency Institute

CAP – College of American Pathologists

ZINQAP – Zimbabwe National Quality Assurance Programme