Answer the following questions below after reading the following documents, Job Aid 1: Comparison of PT Programs and Job Aid 2 Interpreting Comparison Reports.  Please write your answers on the space provided.

- The comparison or ratio of the laboratory’s CV to the group’s CV is known as  _______________________________________________________________________

- Provide the formula for calculating CVR. _________________________________________

- Comparison of EQA Programs.  Match lettered items (Description) with numbered choices (Type of EQA Program). Write only the number on the space provided

Choices:    1. Proficiency Testing             2.  Inter-laboratory Comparison Program

_____ a.  Many laboratories analyzing the same lot number of control material submit

monthly summary statistics.

_____ b.  If report TAT is extensive it may not allow laboratories to detect and correct

in a timely manner problems that affect quality.

_____ c. Values of the samples are NOT known at time of testing.

_____ d. Additional costs to participate.

- What is the interpretation if the CVI is >1.5? ___________________________________

_________________________________________________________________________

_________________________________________________________________________