Evaluation of data:

- Using the Reference Interval Worksheet, determine if ≥ 90% of samples are within the reference range for each partition.

- Circle all data values that exceed the proposed reference range for each partition.

- Circle the correct response (i.e. verified or needs to be re-evaluated) for each reference interval partition.

- Insert the % verified for both partitions located in the bottom table of the worksheet.

    - Complete the reference ranges summary in the Handout 4: AST Validation Summary (page 4).